## Effluent
| Internal analysis | [7 empty] | External analysis | [11 empty] | External analysis 2015
COD total | Date | NH4-N | NO3-N | PO4-P | TOT-P | TOT-N | COD | SS | Fra | Til | Discharge after primary settling | Døgnflow | NH4-N | NO3-N | TN | PO4-P | TP | COD | BI5mod | SS |  | Vandmængde | SS | BI5, mod. | COD | N-tot | NH4-N | Nitrat-N | P-tot | Ortho-P
Tot-N |  | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] |  |  | m3 | m3/d | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l |  | [m3/døgn] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l]
NH4-N | 1. januar-2015 | [7 empty] | 2019-05-05 07:00 | 2019-05-06 07:00 | 0 | 40290 | 0.16 | 2 | 3 | 0.3 | 0.38 | 30 | 1.4 | 2.3 | 2015-01-09 | 63370 | 17 | 4.1 | 34 | 6.3 | 0.13 | 5.3 | 1.1 | 0.48
NO3-N | 2. januar-2015 | [7 empty] | 2019-05-04 07:00 | 2019-05-05 07:00 | [10 empty] | 2015-02-03 | 58060 | 24 | 4.5 | 43 | 5.1 | 0.014 | 3.2 | 1.5 | 0.56
Tot-P | 3. januar-2015 | [7 empty] | 2019-04-23 07:00 | 2019-04-24 07:00 | 0 | 38440 | 0.037 | 1.6 | 2.9 | 0.38 | 0.44 | 32 | 1.6 | 1.6 | 2015-02-05 | 50380 | 12 | 3.5 | 34 | 6 | 0.38 | 4.8 | 1 | 0.66
PO4 | 4. januar-2015 | [7 empty] | 2019-04-22 07:00 | 2019-04-23 07:00 | [10 empty] | 2015-02-13 | 47120 | 15 | 4 | 37 | 9.2 | 0.76 | 6.4 | 1 | 0.48
SS | 5. januar-2015 | [7 empty] | 2019-04-10 07:00 | 2019-04-11 07:00 | 0 | 41960 | 0.41 | 3.3 | 5.4 | 0.32 | 0.38 | 27 | 1.7 | 5.1 | 2015-03-13 | 50090 | 5.5 | 4.1 | 27 | 5.4 | 0.31 | 4.2 | 0.51 | 0.38
| 6. januar-2015 | 0.57 | 6.5 | 0.54 |  |  |  |  | 2019-04-09 07:00 | 2019-04-10 07:00 | [10 empty] | 2015-03-15 | 46160 | 3.8 | 2.6 | 31 | 9.9 | 1.2 | 7.3 | 0.8 | 0.63
| 7. januar-2015 | 1.23 | 5.7 | 0.51 |  |  |  |  | 2019-04-01 07:00 | 2019-04-02 07:00 | 0 | 43850 | 0.23 | 2.9 | 4.2 | 0.38 | 0.41 | 24 | 1.1 | 0.7 | 2015-04-10 | 45960 | 4.1 | 3.2 | 32 | 7.4 | 0.63 | 5.3 | 0.62 | 0.49
| 8. januar-2015 | [7 empty] | 2019-03-31 07:00 | 2019-04-01 07:00 | [10 empty] | 2015-05-06 | 67380 | 22 | 5 | 38 | 4.6 | 0.019 | 3.8 | 1.2 | 0.57
| 9. januar-2015 | 0.29 | 5.4 | 0.56 | 1.2 | 6.5 | 41.1 | 21 | 2019-03-16 07:00 | 2019-03-17 07:00 | 58000 | 90890 | 0.16 | 3.8 | 4.6 | 0.44 | 0.53 | 21 | 1.5 | 1.2 | 2015-05-11 | 41980 | 38 | 6.4 | 56 | 3.9 | 0.015 | 1.7 | 1.5 | 0.26
| 10. januar-2015 | [7 empty] | 2019-03-15 07:00 | 2019-03-16 07:00 | [10 empty] | 2015-05-12 | 46520 | 9.7 | 3 | 35 | 2.7 | 0.045 | 1.8 | 0.63 | 0.26
| 11. januar-2015 | [7 empty] | 2019-03-01 07:00 | 2019-03-02 07:00 | 0 | 42320 | 0.49 | 4.1 | 5.4 | 0.25 | 0.34 | 30 | 1 | 4 | 2015-05-27 | 45490 | 3.5 | 1.8 | 27 | 3.3 | 0.027 | 2.6 | 0.53 | 0.42
| 12. januar-2015 | [7 empty] | 2019-02-28 07:00 | 2019-03-01 07:00 | [10 empty] | 2015-06-14 | 52930 | 5 | 4.3 | 51 | 4 | 0.21 | 2.6 | 1.1 | 0.59
| 13. januar-2015 | 0.06 | 2.4 | 0.45 |  |  |  |  | 2019-02-14 07:00 | 2019-02-15 07:00 | 0 | 52800 | 0.43 | 4 | 5.2 | 0.43 | 0.55 | 34 | 1.7 | 4.8 | 2015-07-02 | 40950 | 5.5 | 2.5 | 29 | 3.2 | 0.35 | 2 | 0.77 | 0.5
| 14. januar-2015 | 0.71 | 3.1 | 0.49 |  |  |  |  | 2019-02-13 07:00 | 2019-02-14 07:00 | [10 empty] | 2015-08-10 | 36480 | 4.8 | 1.3 | 25 | 2.6 | 0.19 | 1.4 | 0.38 | 0.29
| 15. januar-2015 | [7 empty] | 2019-02-06 07:00 | 2019-02-07 07:00 | 41280 | 72920 | 0.66 | 6 | 8.7 | 0.33 | 0.96 | 42 | 6.4 | 26 | 2015-08-20 | 40960 | 1.7 | 2.1 | 28 | 2.3 | 0.21 | 1.2 | 0.45 | 0.34
| 16. januar-2015 | [7 empty] | 2019-02-05 07:00 | 2019-02-06 07:00 | [10 empty] | 2015-09-04 | 51590 | 4.4 | 2 | 23 | 3.7 | 0.66 | 2.2 | 0.44 | 0.29
| 17. januar-2015 | [7 empty] | 2019-01-22 07:00 | 2019-01-23 07:00 | 0 | 40180 | 0.49 | 3.2 | 4 | 0.44 | 0.46 | 27 | 1.3 | 2 | 2015-09-13 | 40680 | 4.8 | 3.2 | 28 | 2.8 | 0.22 | 1.5 | 0.52 | 0.35
| 18. januar-2015 | [7 empty] | 2019-01-21 07:00 | 2019-01-22 07:00 | [10 empty] | 2015-10-08 | 69060 | 21 | 5.6 | 48 | 5.2 | 0.94 | 3.2 | 0.79 | 0.11
| 19. januar-2015 | 0.81 | 3.2 | 0.65 |  |  |  |  | 2019-01-07 07:00 | 2019-01-08 07:00 | 8210 | 87320 | 0.63 | 4.6 | 6.1 | 0.24 | 0.44 | 32 | 3 | 5.7 | 2015-10-24 | 40220 | 7.4 | 2 | 32 | 4.8 | 0.26 | 3.3 | 0.36 | 0.14
| 20. januar-2015 | 0.13 | 4 | 0.62 | 0.86 | 5.3 | 41.2 | 11.4 | 2019-01-06 07:00 | 2019-01-07 07:00 | [10 empty] | 2015-10-27 | 38950 | 3.8 | 2.4 | 33 | 4.3 | 0.26 | 2.9 | 0.34 | 0.2
| 21. januar-2015 | [7 empty] | 2018-12-03 07:00 | 2018-12-04 07:00 | 3020 | 76580 | 2.2 | 2.9 | 6.2 | 0.44 | 0.58 | 28 | 2.4 | 4.1 | 2015-11-09 | 62150 | 29 | 6.6 | 44 | 3.5 | 0.27 | 1.2 | 1.2 | 0.22
| 22. januar-2015 | [7 empty] | 2018-12-02 07:00 | 2018-12-03 07:00 | [10 empty] | 2015-11-19 | 91040 | 12 | 3.4 | 23 | 3.2 | 0.13 | 2.5 | 0.41 | 0.14
| 23. januar-2015 | [7 empty] | 2018-11-21 07:00 | 2018-11-22 07:00 | 0 | 46410 | 3.3 | 6.9 | 11 | 0.24 | 0.36 | 33 | 2.1 | 4.4 | 2015-11-25 | 75870 | 12 | 3.8 | 32 | 5.8 | 1.1 | 3.2 | 0.61 | 0.13
| 24. januar-2015 | [7 empty] | 2018-11-20 07:00 | 2018-11-21 07:00 | [10 empty] | 2015-12-08 | 71860 | 8.2 | 3.3 | 31 | 4.9 | 0.3 | 3.8 | 0.56 | 0.23
| 25. januar-2015 | [7 empty] | 2018-11-11 07:00 | 2018-11-12 07:00 | 1530 | 76030 | 2.2 | 5.4 | 7.7 | 0.16 | 0.23 | 26 | 1.3 | 1.8
| 26. januar-2015 | 0.11 | 2.7 | 0.62 |  |  |  |  | 2018-11-10 07:00 | 2018-11-11 07:00
| 27. januar-2015 | [7 empty] | 2018-10-26 07:00 | 2018-10-27 07:00 | 11970 | 116370 | 5.6 | 3.9 | 11 | 0.25 | 0.68 | 37 | 6.3 | 9.3
| 28. januar-2015 | 0.25 | 3.3 | 0.6 |  |  |  |  | 2018-10-25 07:00 | 2018-10-26 07:00
| 29. januar-2015 | [7 empty] | 2018-10-10 07:00 | 2018-10-11 07:00 | 0 | 35050 | 0.36 | 3.9 | 5 | 0.16 | 0.24 | 31 | 1.5 | 2.3
| 30. januar-2015 | [7 empty] | 2018-10-09 07:00 | 2018-10-10 07:00
| 31. januar-2015 | [7 empty] | 2018-10-02 07:00 | 2018-10-03 07:00 | 0 | 77170 | 3 | 4 | 10 | 0.19 | 0.68 | 31 | 2.5 | 5.4
| 1. februar-2015 | [7 empty] | 2018-10-01 07:00 | 2018-10-02 07:00
| 2. februar-2015 | 0.23 | 2.5 | 0.74 |  |  |  |  | 2018-09-15 07:00 | 2018-09-16 07:00 | 0 | 51630 | 0.3 | 3.9 | 4.7 | 0.11 | 0.16 | 16 | 1.2 | 1.1
| 3. februar-2015 | 0.07 | 3.2 | 0.86 |  |  |  |  | 2018-09-14 07:00 | 2018-09-15 07:00
| 4. februar-2015 | [7 empty] | 2018-09-06 07:00 | 2018-09-07 07:00 | 0 | 32520 | 1.9 | 6.4 | 8.6 | 0.11 | 0.19 | 29 | 1.3 | 1.9
| 5. februar-2015 | 0.53 | 4.8 | 0.82 | 1.3 | 6.2 | 39.3 | 15.2 | 2018-09-05 07:00 | 2018-09-06 07:00
| 6. februar-2015 | [7 empty] | 2018-08-22 07:00 | 2018-08-23 07:00 | 0 | 32530 | 0.81 | 3.1 | 4.8 | 0.2 | 0.27 | 28 | 1.3 | 1.5
| 7. februar-2015 | [7 empty] | 2018-08-21 07:00 | 2018-08-22 07:00
| 8. februar-2015 | [7 empty] | 2018-08-19 07:00 | 2018-08-20 07:00 | 65560 | 100480 | 1.1 | 2.4 | 4.5 | 0.16 | 0.24 | 27 | 2.2 | 2.7
| 9. februar-2015 | [7 empty] | 2018-08-18 07:00 | 2018-08-19 07:00
| 10. februar-2015 | 0.02 | 2.8 | 0.51 |  |  |  |  | 2018-07-13 07:00 | 2018-07-14 07:00 | 0 | 28210 | 0.14 | 1.4 | 2.8 | 0.33 | 0.52 | 32 | 2.6 | 6.6
| 11. februar-2015 | [7 empty] | 2018-07-12 07:00 | 2018-07-13 07:00
| 12. februar-2015 | [7 empty] | 2018-07-02 07:00 | 2018-07-03 07:00 | 0 | 31310 | 0.4 | 1.2 | 2.8 | 0.55 | 0.65 | 30 | 1.9 | 2.2
| 13. februar-2015 | 0.91 | 6.5 | 0.73 |  |  |  |  | 2018-07-01 07:00 | 2018-07-02 07:00
| 14. februar-2015 | [7 empty] | 2018-06-16 07:00 | 2018-06-17 07:00 | 490 | 68970 | 2.5 | 2 | 5.6 | 0.39 | 0.56 | 36 | 3 | 3.7
| 15. februar-2015 | [7 empty] | 2018-06-15 07:00 | 2018-06-16 07:00
| 16. februar-2015 | [7 empty] | 2018-05-28 07:00 | 2018-05-29 07:00 | 0 | 46620 | 0.3 | 2.1 | 3.7 | 0.4 | 0.49 | 36 | 1.8 | 2.1
| 17. februar-2015 | [7 empty] | 2018-05-27 07:01 | 2018-05-28 07:01
| 18. februar-2015 | [7 empty] | 2018-05-27 07:00 | 2018-05-28 07:00 | 0 | 38760
| 19. februar-2015 | [7 empty] | 2018-05-26 07:00 | 2018-05-27 07:00
| 20. februar-2015 | [7 empty] | 2018-05-15 07:00 | 2018-05-16 07:00 | 0 | 40230 | 0.36 | 2.6 | 4.2 | 0.23 | 0.32 | 30 | 1.8 | 1.1
| 21. februar-2015 | [7 empty] | 2018-05-14 07:00 | 2018-05-15 07:00
| 22. februar-2015 | [7 empty] | 2018-05-01 07:00 | 2018-05-02 07:00 | 0 | 66970 | 0.68 | 5.2 | 6.5 | 0.27 | 0.37 | 21 | 2.3 | 3.4
| 23. februar-2015 | [7 empty] | 2018-04-30 07:00 | 2018-05-01 07:00
| 24. februar-2015 | 0.21 | 2.6 | 0.85 |  |  |  |  | 2018-04-22 07:00 | 2018-04-23 07:00 | 0 | 40930 | 0.34 | 3.3 | 4.6 | 0.36 | 0.42 | 25 | 1.4 | 1.3
| 25. februar-2015 | 0.41 | 2.1 | 0.71 |  |  |  |  | 2018-04-21 07:00 | 2018-04-22 07:00
| 26. februar-2015 | [7 empty] | 2018-04-05 07:00 | 2018-04-06 07:00 | 21480 | 90390 | 2.5 | 6.7 | 9.9 | 0.52 | 0.63 | 19 | 2.4 | 5.3
| 27. februar-2015 | [7 empty] | 2018-04-04 07:00 | 2018-04-05 07:00
| 28. februar-2015 | [7 empty] | 2018-03-13 07:00 | 2018-03-14 07:00 | 2740 | 62620 | 0.2 | 5.5 | 8.2 | 0.1 | 1.1 | 52 | 8.6 | 32
| 1. marts-2015 | 0.79 | 8.7 | 0.62 |  |  |  |  | 2018-03-12 07:00 | 2018-03-13 07:00
| 2. marts-2015 | [7 empty] | 2018-03-03 07:00 | 2018-03-04 07:00 | 0 | 45160 | 0.48 | 5.9 | 7.7 | 0.26 | 0.49 | 27 | 2.3 | 5.9
| 3. marts-2015 | [7 empty] | 2018-03-02 07:00 | 2018-03-03 07:00
| 4. marts-2015 | 1.01 | 5.1 | 0.67 |  |  |  |  | 2018-02-15 07:00 | 2018-02-16 07:00 | 0 | 51800 | 0.38 | 6.1 | 7.5 | 0.49 | 0.52 | 26 | 1.5 | 3.3
| 5. marts-2015 | [7 empty] | 2018-02-14 07:00 | 2018-02-15 07:00
| 6. marts-2015 | [7 empty] | 2018-02-07 07:00 | 2018-02-08 07:00 | 0 | 47070 | 0.15 | 4.7 | 5.8 | 0.33 | 0.42 | 29 | 2.3 | 4.9
| 7. marts-2015 | [7 empty] | 2018-02-06 07:00 | 2018-02-07 07:00
| 8. marts-2015 | [7 empty] | 2018-01-22 07:00 | 2018-01-23 07:00 | 0 | 49610 | 0.086 | 2.9 | 3.9 | 0.29 | 0.34 | 26 | 1 | 1.1
| 9. marts-2015 | 0.1 | 1.8 | 0.35 |  |  |  |  | 2018-01-21 07:00 | 2018-01-22 07:00
| 10. marts-2015 | 0.12 | 1.6 | 0.4 |  |  |  |  | 2018-01-12 07:00 | 2018-01-13 07:00 | 750 | 53310 | 0.07 | 3.8 | 4.9 | 0.67 | 0.77 | 30 | 1.6 | 3.7
| 11. marts-2015 | [7 empty] | 2018-01-11 07:00 | 2018-01-12 07:00
| 12. marts-2015 | [7 empty] | 2017-12-04 07:00 | 2017-12-05 07:00 | 0 | 48900 | 0.055 | 2.4 | 3 | 0.24 | 0.26 | 19 | 1.3 | 1.3
| 13. marts-2015 | [7 empty] | 2017-12-03 07:00 | 2017-12-04 07:00
| 14. marts-2015 | [7 empty] | 2017-11-22 07:00 | 2017-11-23 07:00 | 6880 | 109200 | 1.3 | 4.6 | 7.3 | 0.36 | 0.6 | 25 | 3.5 | 8.2
| 15. marts-2015 | 1.18 | 7.5 | 0.65 | 0.83 | 10 | 36.5 | 2.1 | 2017-11-21 07:00 | 2017-11-22 07:00
| 16. marts-2015 | [7 empty] | 2017-11-12 07:00 | 2017-11-13 07:00 | 0 | 46570 | 0.13 | 2.9 | 3.5 | 0.24 | 0.27 | 26 | 1.2 | 9.3
| 17. marts-2015 | [7 empty] | 2017-11-11 07:00 | 2017-11-12 07:00
| 18. marts-2015 | 0.58 | 5.2 | 0.6 |  |  |  |  | 2017-11-03 07:00 | 2017-11-04 07:00 | 0 | 56430 | 0.073 | 3 | 4 | 0.25 | 0.36 | 22 | 0.86 | 1.7
| 19. marts-2015 | [7 empty] | 2017-11-02 07:00 | 2017-11-03 07:00
| 20. marts-2015 | [7 empty] | 2017-10-11 07:00 | 2017-10-12 07:00 |  | 80910 | 1.6 | 1.9 | 4.8 | 0.43 | 0.62 | 29 | 2.8 | 4.8
| 21. marts-2015 | [7 empty] | 2017-10-10 07:00 | 2017-10-11 07:00
| 22. marts-2015 | [7 empty] | 2017-10-03 07:00 | 2017-10-04 07:00 | 0 | 67880 | 0.03 | 2.3 | 2.9 | 0.37 | 0.46 | 19 | 1.7 | 3.7
| 23. marts-2015 | [7 empty] | 2017-10-02 07:00 | 2017-10-03 07:00
| 24. marts-2015 | 0.05 | 2.9 | 0.36 |  |  |  |  | 2017-09-16 07:00 | 2017-09-17 07:00 | 0 | 40290 | 0.042 | 2.5 | 3.6 | 0.3 | 0.36 | 24 | 0.86 | 1.3
| 25. marts-2015 | [7 empty] | 2017-09-15 07:00 | 2017-09-16 07:00
| 26. marts-2015 | [7 empty] | 2017-09-07 07:00 | 2017-09-08 07:00 | 0 | 105780 | 0.47 | 3.2 | 4.2 | 0.33 | 0.39 | 13 | 1.4 | 1.6
| 27. marts-2015 | [7 empty] | 2017-09-06 07:00 | 2017-09-07 07:00
| 28. marts-2015 | [7 empty] | 2017-08-23 07:00 | 2017-08-24 07:00 | 0 | 44270 | 0.14 | 3.9 | 5 | 0.28 | 0.34 | 32 | 1.7 | 2.3
| 29. marts-2015 | [7 empty] | 2017-08-22 07:00 | 2017-08-23 07:00
| 30. marts-2015 | [7 empty] | 2017-08-13 07:00 | 2017-08-14 07:00 | 0 | 51930 | 0.12 | 1.7 | 2.3 | 0.27 | 0.31 | 14 | 1.1 | 1.5
| 31. marts-2015 | 0.12 | 3.5 | 0.72 |  |  |  |  | 2017-08-12 07:00 | 2017-08-13 07:00
| 1. april-2015 | [7 empty] | 2017-07-27 07:00 | 2017-07-28 07:00 | 0 | 58390 | 2.8 | 3.1 | 6.8 | 0.3 | 0.42 | 37 | 2.7 | 3.7
| 2. april-2015 | [7 empty] | 2017-07-26 07:00 | 2017-07-27 07:00
| 3. april-2015 | [7 empty] | 2017-07-10 07:00 | 2017-07-11 07:00 | 0 | 32530 | 0.036 | 1 | 1.9 | 0.25 | 0.37 | 32 | 1.7 | 4.8
| 4. april-2015 | [7 empty] | 2017-07-09 07:00 | 2017-07-10 07:00
| 5. april-2015 | [7 empty] | 2017-06-17 07:00 | 2017-06-18 07:00 | 0 | 34200 | 0.069 | 1.4 | 2.2 | 0.31 | 0.39 | 25 | 1.9 | 3.5
| 6. april-2015 | [7 empty] | 2017-06-16 07:00 | 2017-06-17 07:00
| 7. april-2015 | [7 empty] | 2017-06-13 07:00 | 2017-06-14 07:00 | 0 | 40230
| 8. april-2015 | 0.56 | 4.9 | 0.49 |  |  |  |  | 2017-06-12 07:00 | 2017-06-13 07:00
| 9. april-2015 | [7 empty] | 2017-05-29 07:00 | 2017-05-30 07:00 | 0 | 33080 | 0.18 | 1.7 | 3 | 0.32 | 0.43 | 34 | 1.7 | 2.2
| 10. april-2015 | 0.67 | 5.7 | 0.52 | 0.64 | 7.8 | 39.5 | 4 | 2017-05-28 07:00 | 2017-05-29 07:00
| 11. april-2015 | [7 empty] | 2017-05-16 07:00 | 2017-05-17 07:00 | 2240 | 119840 | 1.9 | 2.6 | 5.6 | 0.48 | 0.66 | 28 | 4.1 | 7.9
| 12. april-2015 | [7 empty] | 2017-05-15 07:00 | 2017-05-16 07:00
| 13. april-2015 | [7 empty] | 2017-05-02 07:00 | 2017-05-03 07:00 | 0 | 41010 | 0.077 | 1.8 | 2.9 | 0.25 | 0.32 | 26 | 1.5 | 2.1
| 14. april-2015 | 0.18 | 4.4 | 0.6 |  |  |  |  | 2017-05-01 07:00 | 2017-05-02 07:00
| 15. april-2015 | 0.21 | 4.7 | 0.55 |  |  |  |  | 2017-04-23 07:00 | 2017-04-24 07:00 | 0 | 47070 | 0.064 | 2.2 | 3.1 | 0.28 | 0.35 | 28 | 1.7 | 2.2
| 16. april-2015 | [7 empty] | 2017-04-22 07:00 | 2017-04-23 07:00
| 17. april-2015 | [7 empty] | 2017-04-06 07:00 | 2017-04-07 07:00 | 0 | 42240 | 0.33 | 2.5 | 4 | 0.28 | 0.35 | 30 | 1.4 | 2.1
| 18. april-2015 | [7 empty] | 2017-04-05 07:00 | 2017-04-06 07:00
| 19. april-2015 | [7 empty] | 2017-03-14 07:00 | 2017-03-15 07:00 | 0 | 44990 | 0.54 | 3.3 | 4.8 | 0.41 | 0.59 | 32 | 2.7 | 4.2
| 20. april-2015 | 0 | 3.9 | 0.32 |  |  |  |  | 2017-03-13 07:00 | 2017-03-14 07:00
| 21. april-2015 | [7 empty] | 2017-03-04 07:00 | 2017-03-05 07:00 |  | 62640 | 0.61 | 3.9 | 5.3 | 0.49 | 0.81 | 34 | 3.4 | 31
| 22. april-2015 | [7 empty] | 2017-03-03 07:00 | 2017-03-04 07:00
| 23. april-2015 | [7 empty] | 2017-02-16 07:00 | 2017-02-17 07:00 | 1220 | 58970 | 1.8 | 3 | 5.8 | 0.4 | 0.67 | 42 | 2.9 | 8.1
| 24. april-2015 | 0.36 | 4.1 | 0.44 |  |  |  |  | 2017-02-15 07:00 | 2017-02-16 07:00
| 25. april-2015 | [7 empty] | 2017-02-09 07:00 | 2017-02-10 07:00 | 0 | 38150 | 0.97 | 3 | 4.4 | 0.43 | 0.56 | 26 | 1.7 | 2
| 26. april-2015 | [7 empty] | 2017-02-08 07:01 | 2017-02-09 07:01
| 27. april-2015 | [7 empty] | 2017-02-08 07:00 | 2017-02-09 07:00 | 0 | 36950 | 0.34 | 2.6 | 4.1 | 0.4 | 0.54 | 25 | 2.9 | 4.5
| 28. april-2015 | 0.29 | 3.9 | 0.38 |  |  |  |  | 2017-02-07 07:00 | 2017-02-08 07:00
| 29. april-2015 | [7 empty] | 2017-01-30 07:00 | 2017-01-31 07:00 | 0 | 38500 | 0.28 | 2.7 | 4.1 | 0.38 | 0.48 | 30 | 1.6 | 2.9
| 30. april-2015 | [7 empty] | 2017-01-29 07:00 | 2017-01-30 07:00
| 1. maj-2015 | [7 empty] | 2016-11-13 07:00 | 2016-11-14 07:00 | 0 | 36490 | 0.57 | 4.4 | 6.2 | 0.26 | 0.33 | 28 | 1.1 | 0.9
| 2. maj-2015 | [7 empty] | 2016-11-12 07:00 | 2016-11-13 07:00
| 3. maj-2015 | [7 empty] | 2016-10-28 07:00 | 2016-10-29 07:00 | 0 | 33570 | 0.28 | 3.8 | 5.2 | 0.27 | 0.46 | 30 | 1.4 | 8.8
| 4. maj-2015 | [7 empty] | 2016-10-27 07:00 | 2016-10-28 07:00
| 5. maj-2015 | [7 empty] | 2016-10-12 07:00 | 2016-10-13 07:00 | 0 | 34290 | 0.42 | 2.4 | 3.7 | 0.27 | 0.37 | 23 | 1.5 | 3.4
| 6. maj-2015 | 0.05 | 3.9 | 0.9 | 1.32 | 6.1 | 109 | 17 | 2016-10-11 07:00 | 2016-10-12 07:00
| 7. maj-2015 | [7 empty] | 2016-10-04 07:00 | 2016-10-05 07:00 | 0 | 33570 | 0.16 | 1.8 | 2.6 | 0.36 | 0.47 | 21 | 1 | 3.5
| 8. maj-2015 | [7 empty] | 2016-10-03 07:00 | 2016-10-04 07:00
| 9. maj-2015 | [7 empty] | 2016-09-17 07:00 | 2016-09-18 07:00 | 0 | 30970 | 0.31 | 1.4 | 2.8 | 0.38 | 0.53 | 32 | 1.1 | 3.3
| 10. maj-2015 | [7 empty] | 2016-09-16 07:00 | 2016-09-17 07:00
| 11. maj-2015 | 0.04 | 1.8 | 0.65 | 1.36 | 3.1 | 52.3 | 28 | 2016-09-08 07:00 | 2016-09-09 07:00 | 0 | 36980 | 0.38 | 1.7 | 3 | 0.37 | 0.42 | 28 | 1.6 | 3.7
| 12. maj-2015 | 0.04 | 2 | 0.64 | 0.64 | 2.7 | 43 | 14 | 2016-09-07 07:00 | 2016-09-08 07:00
| 13. maj-2015 | [7 empty] | 2016-08-31 07:00 | 2016-09-01 07:00 | 0 | 37860 | 0.56 | 2.6 | 4.2 | 0.63 | 0.69 | 31 | 0.83 | 5.2
| 14. maj-2015 | [7 empty] | 2016-08-30 07:00 | 2016-08-31 07:00
| 15. maj-2015 | [7 empty] | 2016-08-28 07:00 | 2016-08-29 07:00 | 12360 | 108250 | 1.1 | 1.9 | 4.1 | 1.5 | 1.7 | 36 | 1.8 | 11
| 16. maj-2015 | [7 empty] | 2016-08-27 07:00 | 2016-08-28 07:00
| 17. maj-2015 | [7 empty] | 2016-08-14 07:00 | 2016-08-15 07:00 | 0 | 36600 | 0.38 | 2.5 | 3.8 | 0.37 | 0.45 | 28 | 0.96 | 2.5
| 18. maj-2015 | [7 empty] | 2016-08-13 07:00 | 2016-08-14 07:00
| 19. maj-2015 | [7 empty] | 2016-07-28 07:00 | 2016-07-29 07:00 | 0 | 37800 | 0.66 | 2.8 | 4.2 | 0.4 | 0.53 | 22 | 1.5 | 4
| 20. maj-2015 | 0.77 | 3.8 | 0.51 |  |  |  |  | 2016-07-27 07:00 | 2016-07-28 07:00
| 21. maj-2015 | 1.19 | 4.4 | 1.39 |  |  |  |  | 2016-07-11 07:00 | 2016-07-12 07:00 | 0 | 78350 | 0.24 | 2.4 | 3.2 | 0.54 | 0.63 | 19 | 1.7 | 2.9
| 22. maj-2015 | 0.95 | 6.2 | 0.64 |  |  |  |  | 2016-07-10 07:00 | 2016-07-11 07:00
| 23. maj-2015 | [7 empty] | 2016-06-18 07:00 | 2016-06-19 07:00 | 0 | 41770 | 0.069 | 2.1 | 2.9 | 0.26 | 0.38 | 23 | 1.4 | 3.4
| 24. maj-2015 | [7 empty] | 2016-06-17 07:00 | 2016-06-18 07:00
| 25. maj-2015 | [7 empty] | 2016-06-12 07:00 | 2016-06-13 07:00 | 0 | 35510 | 0.18 | 1.9 | 3.1 | 0.22 | 0.35 | 27 | 1.7 | 3
| 26. maj-2015 | [7 empty] | 2016-06-11 07:00 | 2016-06-12 07:00
| 27. maj-2015 | [7 empty] | 2016-06-08 07:00 | 2016-06-09 07:00
| 28. maj-2015 | [7 empty] | 2016-05-30 07:00 | 2016-05-31 07:00 | 8240 | 71870 | 0.15 | 3 | 4.1 | 0.61 | 0.74 | 24 | 3 | 4.5
| 29. maj-2015 | [7 empty] | 2016-05-29 07:00 | 2016-05-30 07:00
| 30. maj-2015 | [7 empty] | 2016-05-17 07:00 | 2016-05-18 07:00 | 0 | 43720 | 0.06 | 1.3 | 2.3 | 0.25 | 0.34 | 29 | 1.9 | 2.8
| 31. maj-2015 | [7 empty] | 2016-05-16 07:00 | 2016-05-17 07:00
| 1. juni-2015 | 0.06 | 1.9 | 0.43 |  |  |  |  | 2016-05-03 07:00 | 2016-05-04 07:00 | 5960 | 68310 | 0.3 | 3 | 4.3 | 0.62 | 1.1 | 39 | 4.5 | 17
| 2. juni-2015 | [7 empty] | 2016-05-02 07:00 | 2016-05-03 07:00
| 3. juni-2015 | 0.04 | 2.6 | 0.69 |  |  |  |  | 2016-04-14 07:00 | 2016-04-15 07:00 | 0 | 49350 | 0.72 | 3.2 | 4.9 | 0.34 | 0.5 | 23 | 0.91 | 3.6
| 4. juni-2015 | [7 empty] | 2016-04-13 07:00 | 2016-04-14 07:00
| 5. juni-2015 | [7 empty] | 2016-03-15 07:00 | 2016-03-16 07:00 | 0 | 52050 | 0.15 | 2.6 | 3.7 | 0.17 | 0.34 | 25 | 3.1 | 4.7
| 6. juni-2015 | [7 empty] | 2016-03-14 07:00 | 2016-03-15 07:00
| 7. juni-2015 | [7 empty] | 2016-03-05 07:00 | 2016-03-06 07:00 | 80690 | 73090 | 0.021 | 4.3 | 7.6 | 0.097 | 2 | 64 | 12 | 57
| 8. juni-2015 | [7 empty] | 2016-03-04 07:00 | 2016-03-05 07:00
| 9. juni-2015 | 0.88 | 2.2 | 0.69 |  |  |  |  | 2016-02-18 07:00 | 2016-02-19 07:00 | 0 | 50760 | 0.35 | 3.3 | 4.5 | 0.2 | 0.42 | 19 | 2.7 | 4.2
| 10. juni-2015 | [7 empty] | 2016-02-17 07:00 | 2016-02-18 07:00
| 11. juni-2015 | 0.25 | 3.8 | 0.64 |  |  |  |  | 2016-02-03 07:00 | 2016-02-04 07:00 | 0 | 65800 | 0.1 | 4.9 | 6.2 | 0.29 | 0.49 | 30 | 3.3 | 7.9
| 12. juni-2015 | [7 empty] | 2016-02-02 07:00 | 2016-02-03 07:00
| 13. juni-2015 | [7 empty] | 2016-01-25 07:00 | 2016-01-26 07:00 | 25060 | 71390 | 0.01 | 1.9 | 5.2 | 0.16 | 2.4 | 78 | 11 | 49
| 14. juni-2015 | 0.22 | 2.9 | 0.62 | 0.77 | 4.9 | 39.5 | 4 | 2016-01-24 07:00 | 2016-01-25 07:00
| 15. juni-2015 | [7 empty] | 2016-01-14 07:00 | 2016-01-15 07:00 | 0 | 58310 | 0.28 | 5.3 | 6.6 | 0.3 | 0.5 | 26 | 3.2 | 4.9
| 16. juni-2015 | [7 empty] | 2016-01-13 07:00 | 2016-01-14 07:00
17. juni-2015
18. juni-2015
| 19. juni-2015 | 1.2 | 3 | 0.8
20. juni-2015
21. juni-2015
| 22. juni-2015 | 0.22 | 1.3 | 0.52
23. juni-2015
24. juni-2015
25. juni-2015
26. juni-2015
27. juni-2015
28. juni-2015
29. juni-2015
| 30. juni-2015 | 0.32 | 1.5 | 0.87
1. juli-2015
| 2. juli-2015 | 0.37 | 2.2 | 0.58 | 0.64 | 3.9 | 32.4 | 5
| 3. juli-2015 | 2.7 | 2.5 | 0.86
4. juli-2015
5. juli-2015
| 6. juli-2015 | 0.44 | 1.9 | 0.52
7. juli-2015
| 8. juli-2015 | 0.26 | 1.4 | 1.05
| 9. juli-2015 | 0.99 | 1.5 | 0.9
| 10. juli-2015 | 0.08 | 1.5 | 1.55
11. juli-2015
12. juli-2015
13. juli-2015
| 14. juli-2015 | 0.13 | 1.2 | 0.51 | 0.59 | 2.2 | 36.1 | 7
15. juli-2015
| 16. juli-2015 | 0.19 | 2 | 0.48
17. juli-2015
18. juli-2015
19. juli-2015
| 20. juli-2015 | 1.24 | 4.7 | 1.6
| 21. juli-2015 | 0.05 | 1.4 | 0.4
22. juli-2015
| 23. juli-2015 | 0.11 | 1.3 | 0.84
| 24. juli-2015 | 0.18 | 1.7 | 0.75
25. juli-2015
26. juli-2015
| 27. juli-2015 | 0.17 | 3.1 | 1.61
| 28. juli-2015 | 0.88 | 2.8 | 0.48
| 29. juli-2015 | 0.75 | 3.9 | 0.61
30. juli-2015
| 31. juli-2015 | 0.23 | 2.9 | 0.89
1. august-2015
2. august-2015
| 3. august-2015 | 0.83 | 2.2 | 0.55
| 4. august-2015 | 0.21 | 2.7 | 0.24
| 5. august-2015 | 1.9 | 2 | 0.38
| 6. august-2015 | 0.36 | 2.4 | 0.43
7. august-2015
8. august-2015
9. august-2015
| 10. august-2015 | 0.2 | 1.6 | 0.29 | 0.35 | 2.6 | 33 | 2.5
| 11. august-2015 | 0.18 | 1.6 | 0.29
| 12. august-2015 | 0.4 | 1.8 | 0.54
13. august-2015
| 14. august-2015 | 0.26 | 1.5 | 0.41
15. august-2015
16. august-2015
| 17. august-2015 | 0.47 | 0.4 | 0.7
18. august-2015
| 19. august-2015 | 0.49 | 0.7 | 0.49
| 20. august-2015 | 0.21 | 1.5 | 0.37 | 0.42 | 2.5 | 32 | 2
21. august-2015
22. august-2015
23. august-2015
| 24. august-2015 | 0.55 | 1 | 0.45
25. august-2015
| 26. august-2015 | 1.11 | 2.5 | 0.2
27. august-2015
28. august-2015
| 29. august-2015 | 0.61 | 3 | 0.29
30. august-2015
31. august-2015
1. september-2015
| 2. september-2015 | 1.32 | 1.3 | 0.44
3. september-2015
| 4. september-2015 | 0.73 | 2.3 | 0.32 | 0.45 | 4.2 | 29 | 3
5. september-2015
6. september-2015
7. september-2015
| 8. september-2015 | 2.66 | 2.1 | 0.53
9. september-2015
| 10. september-2015 | 0.8 | 2.9 | 0.42
11. september-2015
12. september-2015
| 13. september-2015 | 0.2 | 1.7 | 0.39
14. september-2015
| 15. september-2015 | 0.16 | 0.8 | 0.17
16. september-2015
| 17. september-2015 | 1.18 | 1.4 | 0.24
| 18. september-2015 | 1.98 | 1.9 | 0.1
19. september-2015
20. september-2015
| 21. september-2015 | 0.63 | 1.3 | 0.39
| 22. september-2015 | 1.67 | 1.2 | 0.19
23. september-2015
24. september-2015
| 25. september-2015 | 1.04 | 4.8 | 0.37
26. september-2015
27. september-2015
| 28. september-2015 | 0.67 | 0.8 | 0.56
29. september-2015
30. september-2015
| 1. oktober-2015 | 0.89 | 1.7 | 0.4
| 2. oktober-2015 | 1.39 | 1.7 | 0.52
3. oktober-2015
4. oktober-2015
| 5. oktober-2015 | 0.69 | 0.9 | 0.38
6. oktober-2015
7. oktober-2015
| 8. oktober-2015 | 1.38 | 3.1 | 0.29 | 1 | 6.2 | 51 | 22
9. oktober-2015
10. oktober-2015
11. oktober-2015
12. oktober-2015
| 13. oktober-2015 | 0.32 | 1 | 0.32
14. oktober-2015
15. oktober-2015
16. oktober-2015
17. oktober-2015
18. oktober-2015
| 19. oktober-2015 | 0.43 | 1.6 | 0.35
20. oktober-2015
21. oktober-2015
22. oktober-2015
| 23. oktober-2015 | 0.72 | 3.4 | 0.29
24. oktober-2015
25. oktober-2015
26. oktober-2015
| 27. oktober-2015 | 0.24 | 3.5 | 0.38 | 0.45 | 4.6 | 19.9 | 1
| 28. oktober-2015 | 0.54 | 2.4 | 0.29
29. oktober-2015
| 30. oktober-2015 | 0.26 | 2.9 | 0.41
31. oktober-2015
1. november-2015
2. november-2015
| 3. november-2015 | 0.12 | 1.3 | 0.49
4. november-2015
| 5. november-2015 | 0.69 | 0.8 | 0.29
| 6. november-2015 | 0.27 | 1.4 | 0.29
7. november-2015
8. november-2015
| 9. november-2015 | 0.62 | 1.2 | 0.52 | 1.21 | 4.2 | 23.1 | 23
10. november-2015
11. november-2015
| 12. november-2015 | 0.46 | 0.8 | 0.25
| 13. november-2015 | 0.09 | 1.3 | 0.21
14. november-2015
15. november-2015
| 16. november-2015 | 0.3 | 1.2 | 0.15
| 17. november-2015 | 0.11 | 2.2 | 0.17
18. november-2015
| 19. november-2015 | 0.17 | 2.5 | 0.22 | 0.39 | 3.6 | 29.5 | 5
| 20. november-2015 | 0.2 | 3.8 | 0.67
21. november-2015
22. november-2015
| 23. november-2015 | 0.57 | 1.6 | 0.29
| 24. november-2015 | 0.1 | 2 | 0.19
| 25. november-2015 | 1.25 | 3.3 | 0.28 | 0.66 | 5.9 | 31.6 | 12
| 26. november-2015 | 0.94 | 2 | 0.28
| 27. november-2015 | 1.44 | 2.4 | 0.35
28. november-2015
29. november-2015
| 30. november-2015 | 0.07 | 2.9 | 0.39
| 1. december-2015 | 0.17 | 3.9 | 0.16
| 2. december-2015 | 1.7 | 3.4 | 0.3
| 3. december-2015 | 1.13 | 2.6 | 0.88
| 4. december-2015 | 1.11 | 3.4 | 0.18
5. december-2015
6. december-2015
| 7. december-2015 | 0.04 | 2.8 | 0.37
| 8. december-2015 | 0.41 | 3 | 0.34 | 0.64 | 5 | 40.6 | 15
| 9. december-2015 | 0.32 | 0.6 | 0.2
| 10. december-2015 | 0.18 | 2.3 | 0.22
| 11. december-2015 | 0.12 | 3.1 | 0.25
12. december-2015
13. december-2015
14. december-2015
15. december-2015
16. december-2015
| 17. december-2015 | 0.46 | 2.8 | 0.21
18. december-2015
19. december-2015
20. december-2015
| 21. december-2015 | 0.19 | 2.3 | 0.29
22. december-2015
23. december-2015
24. december-2015
25. december-2015
26. december-2015
27. december-2015
28. december-2015
29. december-2015
30. december-2015
31. december-2015
1. januar-2016
2. januar-2016
3. januar-2016
| 4. januar-2016 | 0.55 | 3.7 | 0.44
5. januar-2016
6. januar-2016
7. januar-2016
| 8. januar-2016 | 1.14 | 4.6 | 0.37
9. januar-2016
10. januar-2016
| 11. januar-2016 | 0.5 | 4.2 | 0.32
| 12. januar-2016 | 0.51 | 2.9 | 0.28
13. januar-2016
14. januar-2016
| 15. januar-2016 | 0.28 | 5.4 | 0.32 | 0.4 | 6.7 | 28.2 | 5
16. januar-2016
17. januar-2016
| 18. januar-2016 | 0.15 | 3 | 0.21
| 19. januar-2016 | 0.3 | 3.6 | 0.26
20. januar-2016
21. januar-2016
22. januar-2016
23. januar-2016
24. januar-2016
25. januar-2016
| 26. januar-2016 | 0.01 | 2.1 | 0.32 | 2.2 | 4.7 | 71 | 60
27. januar-2016
28. januar-2016
| 29. januar-2016 | 0.81 | 4.8 | 0.54
30. januar-2016
31. januar-2016
| 1. februar-2016 | 0.13 | 2.7 | 0.27
| 2. februar-2016 | 0.37 | 1.9 | 0.27
3. februar-2016
| 4. februar-2016 | 0.09 | 4.8 | 0.34 | 0.51 | 5.5 | 25.5 | 3.8
5. februar-2016
6. februar-2016
7. februar-2016
| 8. februar-2016 | 0.17 | 2.6 | 0.33
| 9. februar-2016 | 0.37 | 2.8 | 0.43
10. februar-2016
11. februar-2016
| 12. februar-2016 | 0.31 | 2.9 | 0.32
13. februar-2016
14. februar-2016
15. februar-2016
| 16. februar-2016 | 0.39 | 1.9 | 0.27
17. februar-2016
18. februar-2016
| 19. februar-2016 | 0.23 | 3.4 | 0.3 | 0.38 | 4.9 | 24.1 | 3
20. februar-2016
21. februar-2016
| 22. februar-2016 | 0.04 | 4.4 | 0.22
| 23. februar-2016 | 0.34 | 3.1 | 0.43
24. februar-2016
25. februar-2016
26. februar-2016
27. februar-2016
28. februar-2016
| 29. februar-2016 | 0.21 | 2.6 | 0.19
| 1. marts-2016 | 0.22 | 2.1 | 0.2
2. marts-2016
3. marts-2016
4. marts-2016
5. marts-2016
| 6. marts-2016 | 0.07 | 4 | 0.1 | 1.45 | 6.9 | 60 | 41
| 7. marts-2016 | 0.31 | 3.2 | 0.21
8. marts-2016
9. marts-2016
10. marts-2016
| 11. marts-2016 | 0.85 | 2.7 | 0.29
12. marts-2016
13. marts-2016
| 14. marts-2016 | 0.62 | 2.5 | 0.23
| 15. marts-2016 | 0.41 | 2.1 | 0.19
| 16. marts-2016 | 0.17 | 2.8 | 0.24 | 0.35 | 3.8 | 23 | 3
17. marts-2016
18. marts-2016
19. marts-2016
20. marts-2016
| 21. marts-2016 | 0.5 | 2 | 0.34
22. marts-2016
23. marts-2016
24. marts-2016
25. marts-2016
26. marts-2016
27. marts-2016
28. marts-2016
29. marts-2016
| 30. marts-2016 | 3.2 | 4.6 | 0.54
31. marts-2016
1. april-2016
2. april-2016
3. april-2016
| 4. april-2016 | 1.62 | 3.2 | 0.46
| 5. april-2016 | 1.41 | 3.5 | 0.3
6. april-2016
7. april-2016
8. april-2016
9. april-2016
10. april-2016
| 11. april-2016 | 0.33 | 1.9 | 0.21
| 12. april-2016 | 0.26 | 3 | 0.18
13. april-2016
14. april-2016
| 15. april-2016 | 0.73 | 3.3 | 0.39 | 0.52 | 4.4 | 32.8 | 6.5
16. april-2016
17. april-2016
| 18. april-2016 | 0.82 | 2.3 | 0.4
19. april-2016
20. april-2016
21. april-2016
22. april-2016
23. april-2016
24. april-2016
| 25. april-2016 | 1.14 | 1.7 | 0.49
| 26. april-2016 | 2.41 | 2.9 | 0.33
27. april-2016
28. april-2016
| 29. april-2016 | 0.91 | 2 | 0.57
30. april-2016
1. maj-2016
| 2. maj-2016 | 0.87 | 2 | 0.98
3. maj-2016
| 4. maj-2016 | 0.38 | 2.9 | 0.62 | 1.03 | 3.7 | 38.8 | 15
5. maj-2016
6. maj-2016
7. maj-2016
8. maj-2016
| 9. maj-2016 | 0.65 | 1.3 | 0.91 |  |  |  | 4.5
| 10. maj-2016 | 0.6 | 1.3 | 0.84
11. maj-2016
12. maj-2016
| 13. maj-2016 | 1.57 | 1.1 | 0.97
14. maj-2016
15. maj-2016
16. maj-2016
| 17. maj-2016 | 0.42 | 1.3 | 0.52
| 18. maj-2016 | 0.08 | 1.6 | 0.26 | 0.37 | 3.2 | 35.6 | 8.5
19. maj-2016
| 20. maj-2016 | 0.96 | 1.1 | 0.5
21. maj-2016
22. maj-2016
| 23. maj-2016 | 1.72 | 2.2 | 0.47
24. maj-2016
25. maj-2016
26. maj-2016
| 27. maj-2016 | 0.46 | 7.7 | 0.47
28. maj-2016
29. maj-2016
| 30. maj-2016 | 1.38 | 2 | 0.69
| 31. maj-2016 | 0.2 | 3.2 | 0.59 | 0.69 | 4.4 | 28.1 | 6
1. juni-2016
2. juni-2016
| 3. juni-2016 | 0.89 | 1 | 0.61
4. juni-2016
5. juni-2016
| 6. juni-2016 | 0.56 | 1.3 | 0.6 |  |  |  | 1
| 7. juni-2016 | 0.87 | 0.7 | 0.51
8. juni-2016
| 9. juni-2016 | 1.14 | 1.4 | 0.51
10. juni-2016
11. juni-2016
12. juni-2016
| 13. juni-2016 | 0.17 | 2.2 | 0.26 | 0.33 | 1.4 | 62.1 | 9.5
14. juni-2016
15. juni-2016
16. juni-2016
| 17. juni-2016 | 0.28 | 4.8 | 0.63
18. juni-2016
19. juni-2016
| 20. juni-2016 | 0.06 | 2.2 | 0.27 | 0.32 | 3.3 | 25.9 | 3
| 21. juni-2016 | 0.33 | 2 | 0.27
22. juni-2016
23. juni-2016
| 24. juni-2016 | 1.08 | 2 | 0.82
25. juni-2016
26. juni-2016
| 27. juni-2016 | 0.26 | 3.1 | 0.37
| 28. juni-2016 | 1.5 | 3 | 0.28
29. juni-2016
30. juni-2016
| 1. juli-2016 | 1.5 | 7.6 | 0.37
2. juli-2016
3. juli-2016
| 4. juli-2016 | 1.47 | 2.6 | 0.47
| 5. juli-2016 | 0.17 | 1.5 | 0.3
6. juli-2016
7. juli-2016
| 8. juli-2016 | 0.19 | 1.4 | 0.39
9. juli-2016
10. juli-2016
| 11. juli-2016 | 1.56 | 2.4 | 0.78
| 12. juli-2016 | 0.23 | 2.6 | 0.53 | 0.59 | 3.2 | 27.1 | 2.5
13. juli-2016
14. juli-2016
| 15. juli-2016 | 0.21 | 2.4 | 0.34
16. juli-2016
17. juli-2016
18. juli-2016
19. juli-2016
20. juli-2016
21. juli-2016
22. juli-2016
23. juli-2016
24. juli-2016
| 25. juli-2016 | 0.59 | 1.2 | 0.92
| 26. juli-2016 | 1.89 | 1.3 | 0.52
27. juli-2016
28. juli-2016
| 29. juli-2016 | 0.75 | 2.8 | 0.45 | 0.5 | 4.7 | 25.4 | 4
30. juli-2016
31. juli-2016
| 1. august-2016 | 0.96 | 1.7 | 0.48
| 2. august-2016 | 0.44 | 1.8 | 0.31
3. august-2016
4. august-2016
| 5. august-2016 | 1.47 | 2.3 | 0.44
6. august-2016
7. august-2016
| 8. august-2016 | 0.93 | 2.1 | 0.41
| 9. august-2016 | 1.53 | 3.2 | 0.38
10. august-2016
11. august-2016
| 12. august-2016 | 2 | 3.5 | 0.54
13. august-2016
14. august-2016
| 15. august-2016 | 0.33 | 2.6 | 0.4 | 0.52 | 3.8 | 27 | 3
16. august-2016
| 17. august-2016 | 1.03 | 2 | 0.44
| 18. august-2016 | 1.17 | 1.9 | 0.52
| 19. august-2016 | 0.81 | 1.9 | 0.5
20. august-2016
21. august-2016
| 22. august-2016 | 0.9 | 1.8 | 0.43
| 23. august-2016 | 1.1 | 1.8 | 0.71
24. august-2016
25. august-2016
| 26. august-2016 | 1.66 | 2 | 0.8
27. august-2016
28. august-2016
| 29. august-2016 | 1.14 | 2 | 1.84 | 1.89 | 4.5 | 36.7 | 14
30. august-2016
| 31. august-2016 | 1.56 | 2 | 0.66 |  |  |  | 3
| 1. september-2016 | 0.6 | 2.5 | 0.6 | 0.65 | 5.2 | 28.5 | 2.4
| 2. september-2016 | 0.42 | 2.4 | 0.55
3. september-2016
4. september-2016
| 5. september-2016 | 0.46 | 1.4 | 0.47
6. september-2016
| 7. september-2016 | 1.2 | 1.1 | 0.34
| 8. september-2016 | 0.88 | 1.7 | 0.32
| 9. september-2016 | 0.39 | 1.9 | 0.36 | 0.42 | 4.2 | 28.4 | 3
10. september-2016
11. september-2016
| 12. september-2016 | 0.32 | 1.2 | 0.29
13. september-2016
| 14. september-2016 | 1.21 | 1 | 0.38
15. september-2016
| 16. september-2016 | 1.28 | 1 | 0.4
17. september-2016
| 18. september-2016 | 0.3 | 1.6 | 0.39 | 0.46 | 3 | 29.7 | 5.6
| 19. september-2016 | 0.74 | 1.3 | 0.34
20. september-2016
| 21. september-2016 | 0.81 | 0.6 | 0.36
| 22. september-2016 | 2.1 | 1 | 0.42
23. september-2016
24. september-2016
25. september-2016
| 26. september-2016 | 1.15 | 0.9 | 0.4
27. september-2016
| 28. september-2016 | 2.21 | 0.8 | 1.02
29. september-2016
| 30. september-2016 | 2.39 | 2.3 | 0.75
1. oktober-2016
2. oktober-2016
| 3. oktober-2016 | 0.98 | 2.4 | 0.62
4. oktober-2016
| 5. oktober-2016 | 0.18 | 1.9 | 0.36 | 0.44 | 2.8 | 26.6 | 4
| 6. oktober-2016 | 1.96 | 2.6 | 0.4
7. oktober-2016
8. oktober-2016
9. oktober-2016
| 10. oktober-2016 | 2.64 | 2.1 | 0.26
| 11. oktober-2016 | 0.33 | 0.9 | 0.25
| 12. oktober-2016 | 0.69 | 1.5 | 0.27
| 13. oktober-2016 | 0.46 | 2.3 | 0.28 | 0.39 | 4.3 | 28.1 | 6
14. oktober-2016
15. oktober-2016
16. oktober-2016
| 17. oktober-2016 | 2.09 | 2.7 | 0.36
18. oktober-2016
19. oktober-2016
20. oktober-2016
21. oktober-2016
22. oktober-2016
23. oktober-2016
| 24. oktober-2016 | 2.78 | 3.3 | 0.52
25. oktober-2016
26. oktober-2016
27. oktober-2016
28. oktober-2016
| 29. oktober-2016 | 0.25 | 4 | 0.32 | 0.41 | 5.6 | 32.1 | 1.6
30. oktober-2016
31. oktober-2016
1. november-2016
| 2. november-2016 | 0.79 | 2.9 | 0.47
| 3. november-2016 | 1.37 | 3 | 0.38
4. november-2016
5. november-2016
6. november-2016
7. november-2016
8. november-2016
9. november-2016
10. november-2016
11. november-2016
12. november-2016
13. november-2016
| 14. november-2016 | 0.68 | 5.1 | 0.27 | 0.35 | 7.3 | 33 | 3.6
15. november-2016
| 16. november-2016 | 0.81 | 3.7 | 0.7
17. november-2016
| 18. november-2016 | 1.81 | 4.2 | 0.37
19. november-2016
20. november-2016
| 21. november-2016 | 0.71 | 2.8 | 0.35
| 22. november-2016 | 1.32 | 1.3 | 0.86
23. november-2016
| 24. november-2016 | 1.49 | 2.5 | 0.5 | 0.59 | 5.1 | 30.1 | 2.6
25. november-2016
26. november-2016
27. november-2016
| 28. november-2016 | 1.99 | 1.4 | 0.28
29. november-2016
30. november-2016
| 1. december-2016 | 8.39 | 2.8 | 0.88
| 2. december-2016 | 4.88 | 4.1 | 0.52
3. december-2016
4. december-2016
| 5. december-2016 | 1.49 | 1.2 | 0.3
| 6. december-2016 | 1.06 | 0.7 | 0.4
| 7. december-2016 | 0.59 | 1.9 | 0.37 | 0.46 | 4.1 | 32.8 | 6.4
| 8. december-2016 | 1.99 | 1.3 | 0.43
9. december-2016
10. december-2016
11. december-2016
| 12. december-2016 | 1.54 | 1.1 | 0.35
13. december-2016
14. december-2016
| 15. december-2016 | 1.88 | 1.4 | 0.28
| 16. december-2016 | 0.91 | 1.6 | 0.32
17. december-2016
18. december-2016
| 19. december-2016 | 0.96 | 1 | 0.27
20. december-2016
| 21. december-2016 | 0.31 | 1.7 | 0.21
| 22. december-2016 | 0.55 | 2 | 0.21
23. december-2016
24. december-2016
25. december-2016
26. december-2016
27. december-2016
| 28. december-2016 | 1.36 | 1.2 | 0.31
29. december-2016
30. december-2016
31. december-2016
| 1. januar-2017 | 0.08
| 2. januar-2017 | 0.35 | 0.9 | 0.3
3. januar-2017
| 4. januar-2017 | 2.61 | 3.7 | 0.21
| 5. januar-2017 | 3.51 | 4.5 | 0.29
| 6. januar-2017 | 2.52 | 3.9 | 0.24
7. januar-2017
8. januar-2017
| 9. januar-2017 | 1.49 | 1.7 | 0.21
10. januar-2017
11. januar-2017
12. januar-2017
| 13. januar-2017 | 3.9 | 4.3 | 0.58
14. januar-2017
15. januar-2017
| 16. januar-2017 | 0.66 | 3.2 | 0.31
17. januar-2017
| 18. januar-2017 | 0.61 | 3.2 | 0.29
19. januar-2017
| 20. januar-2017 | 0.59 | 3.5 | 0.38 | 0.49 | 4.9 | 31.1 | 4.2
21. januar-2017
22. januar-2017
| 23. januar-2017 | 0.85 | 1.7 | 0.39
24. januar-2017
| 25. januar-2017 | 0.25 | 1.8 | 0.38
| 26. januar-2017 | 0.48 | 2.6 | 0.36
27. januar-2017
28. januar-2017
29. januar-2017
| 30. januar-2017 | 1.39 | 1.5 | 0.44
| 31. januar-2017 | 0.29 | 2.5 | 0.38 | 0.43 | 3.1 | 27.1 | 2
| 1. februar-2017 | 1.15 | 1.2 | 0.47
| 2. februar-2017 | 0.35 | 2.6 | 0.47
3. februar-2017
4. februar-2017
5. februar-2017
| 6. februar-2017 | 2.6 | 2.2 | 0.53
| 7. februar-2017 | 0.66 | 1.3 | 0.65
| 8. februar-2017 | 0.86 | 1.4 | 0.51
| 9. februar-2017 | 0.36 | 2.7 | 0.42 | 0.62 | 4.6 | 33.5 | 7.2
| 10. februar-2017 | 0.48 | 3.1 | 0.45 | 0.58 | 5.1 | 29.8 | 5
11. februar-2017
12. februar-2017
| 13. februar-2017 | 1.27 | 1.5 | 0.42
| 14. februar-2017 | 0.35 | 2.8 | 0.34
| 15. februar-2017 | 0.56 | 2.8 | 0.42
| 16. februar-2017 | 0.84 | 3.4 | 0.38
| 17. februar-2017 | 1.85 | 3.2 | 0.43 | 0.64 | 6.3 | 34.2 | 7.5
18. februar-2017
19. februar-2017
20. februar-2017
| 21. februar-2017 | 0.56 | 1.3 | 0.54
22. februar-2017
| 23. februar-2017 | 0.5 | 1.7 | 0.69
24. februar-2017
25. februar-2017
26. februar-2017
| 27. februar-2017 | 1.12 | 2.2 | 0.7
28. februar-2017
| 1. marts-2017 | 0.81 | 2.7 | 0.49
| 2. marts-2017 | 0.36 | 3.5 | 0.6
3. marts-2017
4. marts-2017
| 5. marts-2017 | 0.61 | 4 | 0.58 | 1.67 | 7.5 | 56.6 | 34
| 6. marts-2017 | 0.28 | 2 | 0.21
| 7. marts-2017 | 0.6 | 4.1 | 0.51
| 8. marts-2017 | 1.71 | 5.2 | 0.62
| 9. marts-2017 | 4.06 | 5.2 | 0.6
| 10. marts-2017 | 2.44 | 4.8 | 0.55
11. marts-2017
12. marts-2017
| 13. marts-2017 | 1.02 | 1.3 | 0.51
| 14. marts-2017 | 1.95 | 1.8 | 0.53
| 15. marts-2017 | 0.58 | 3.3 | 0.44 | 0.6 | 5.3 | 34.5 | 4.8
| 16. marts-2017 | 2.62 | 2.1 | 0.81
17. marts-2017
18. marts-2017
19. marts-2017
| 20. marts-2017 | 2.73 | 2.9 | 0.47
| 21. marts-2017 | 1.18 | 3.7 | 0.51
22. marts-2017
| 23. marts-2017 | 0.53 | 3.8 | 0.63
| 24. marts-2017 | 0.67 | 4.5 | 0.68
25. marts-2017
26. marts-2017
| 27. marts-2017 | 0.88 | 1.5 | 0.5
28. marts-2017
| 29. marts-2017 | 1.09 | 1.6 | 0.63
| 30. marts-2017 | 1.76 | 1.8 | 0.69
31. marts-2017
1. april-2017
2. april-2017
| 3. april-2017 | 1.02 | 0.3 | 1.25
| 4. april-2017 | 0.21 | 1.7 | 1.27 |  |  | 34.9
| 5. april-2017 | 0.1 | 1.3 | 0.55
| 6. april-2017 | 0.83 | 0.8 | 0.31
7. april-2017
8. april-2017
9. april-2017
10. april-2017
| 11. april-2017 | 1.46 | 1.2 | 0.6
12. april-2017
13. april-2017
14. april-2017
15. april-2017
16. april-2017
17. april-2017
| 18. april-2017 | 3.63 | 3.8 | 0.67
| 19. april-2017 | 2.22 | 8.3 | 0.62
| 20. april-2017 | 1.94 | 7.4 | 0.63
| 21. april-2017 | 1.64 | 2.8 | 0.32
22. april-2017
23. april-2017
| 24. april-2017 | 0.08 | 2.5 | 0.27 | 0.34 | 3.9 | 33.3 | 2.3
25. april-2017
26. april-2017
27. april-2017
| 28. april-2017 | 0.83 | 2.1 | 0.82
29. april-2017
30. april-2017
1. maj-2017
| 2. maj-2017 | 0.13 | 1.6 | 0.28
| 3. maj-2017 | 0.09 | 2.2 | 0.24 | 0.33 | 3.5 | 30 | 2.3
| 4. maj-2017 | 0.82 | 1.7 | 0.31
| 5. maj-2017 | 0.1 | 2.2 | 0.28
6. maj-2017
7. maj-2017
| 8. maj-2017 | 0.29 | 1.1 | 0.35
| 9. maj-2017 | 0.36 | 1.4 | 0.36
| 10. maj-2017 | 1.31 | 3.1 | 0.5
| 11. maj-2017 | 3.59 | 4 | 0.69
12. maj-2017
13. maj-2017
14. maj-2017
15. maj-2017
16. maj-2017
| 17. maj-2017 | 2.67 | 3.1 | 0.57 | 0.76 | 7.3 | 36.9 | 7.5
18. maj-2017
19. maj-2017
20. maj-2017
21. maj-2017
| 22. maj-2017 | 0.86 | 1.6 | 0.42
| 23. maj-2017 | 0.31 | 2.5 | 0.48
| 24. maj-2017 | 0.19 | 2.1 | 0.37
25. maj-2017
26. maj-2017
27. maj-2017
28. maj-2017
| 29. maj-2017 | 0.81 | 1.6 | 0.38
| 30. maj-2017 | 0.21 | 2.1 | 0.31 | 0.42 | 3.2 | 28.1 | 2
| 31. maj-2017 | 2.47 | 2.3 | 1.27
1. juni-2017
2. juni-2017
3. juni-2017
4. juni-2017
5. juni-2017
| 6. juni-2017 | 1.11 | 3.2 | 0.79
| 7. juni-2017 | 2.86 | 1.6 | 1.51
| 8. juni-2017 | 1.86 | 2.7 | 0.42
9. juni-2017
10. juni-2017
11. juni-2017
| 12. juni-2017 | 1.33 | 6.7 | 0.8
| 13. juni-2017 | 1.02 | 2.4 | 0.48
| 14. juni-2017 | 0.17 | 1.8 | 0.36
| 15. juni-2017 | 0.2 | 2 | 0.34
| 16. juni-2017 | 2.6 | 1.2 | 0.67
17. juni-2017
| 18. juni-2017 | 0.07 | 1.7 | 0.31 | 0.37 | 3.7 | 30.5 | 5
19. juni-2017
| 20. juni-2017 | 0.08 | 0.1 | 0.25
| 21. juni-2017 | 0.08 | 1.8 | 0.39
| 22. juni-2017 | 0.08 | 1.7 | 0.29
23. juni-2017
24. juni-2017
25. juni-2017
| 26. juni-2017 | 0.52 | 1.1 | 0.24
27. juni-2017
| 28. juni-2017 | 0.06 | 1.3 | 0.23
| 29. juni-2017 | 0.51 | 1.3 | 0.13
30. juni-2017
1. juli-2017
2. juli-2017
| 3. juli-2017 | 0.33 | 0.3 | 0.35
4. juli-2017
| 5. juli-2017 | 0.04 | 1.2 | 0.2
6. juli-2017
7. juli-2017
8. juli-2017
9. juli-2017
10. juli-2017
| 11. juli-2017 | 0.04 | 1.2 | 0.26 | 0.36 | 2.6 | 36.6 | 2.3
12. juli-2017
| 13. juli-2017 | 0.29 | 0.8 | 0.33
| 14. juli-2017 | 0.78 | 0.8 | 0.25
15. juli-2017
16. juli-2017
17. juli-2017
18. juli-2017
19. juli-2017
20. juli-2017
21. juli-2017
22. juli-2017
23. juli-2017
24. juli-2017
25. juli-2017
| 26. juli-2017 | 2.16 | 1.1 | 0.4
27. juli-2017
| 28. juli-2017 | 2.61 | 2.8 | 0.34 | 0.39 | 6.1 | 37.2 | 2.6
29. juli-2017
30. juli-2017
| 31. juli-2017 | 2.27 | 1.1 | 0.2
| 1. august-2017 | 0.81 | 1.1 | 0.19
2. august-2017
| 3. august-2017 | 0.51 | 0.8 | 0.25
| 4. august-2017 | 0.65 | 1.2 | 0.31
5. august-2017
6. august-2017
| 7. august-2017 | 0.21 | 1.1 | 0.25
| 8. august-2017 | 0.9 | 1.5 | 0.22
| 9. august-2017 | 2.72 | 1.4 | 0.41
| 10. august-2017 | 0.68 | 1.3 | 0.35
| 11. august-2017 | 0.77 | 1.4 | 0.33
12. august-2017
13. august-2017
| 14. august-2017 | 0.06 | 2.2 | 0.33 | 0.35 | 2.7 | 21.6 | 2.4
| 15. august-2017 | 0.05 | 1.7 | 0.28
| 16. august-2017 | 2.72 | 1.9 | 0.55
| 17. august-2017 | 0.07 | 2.9 | 0.24
18. august-2017
19. august-2017
20. august-2017
| 21. august-2017 | 0.52 | 2.9 | 0.32
| 22. august-2017 | 0.04 | 2.6 | 0.24
| 23. august-2017 | 0.06 | 2.9 | 0.25
| 24. august-2017 | 0.15 | 4 | 0.28 | 0.57 | 5.1 | 25.6 | 4.2
| 25. august-2017 | 0.26 | 5.2 | 0.28
26. august-2017
27. august-2017
| 28. august-2017 | 0.32 | 1.4 | 0.19
| 29. august-2017 | 0.86 | 2.7 | 0.22
| 30. august-2017 | 0.07 | 3.8 | 0.23
| 31. august-2017 | 0.45 | 3.9 | 0.32
| 1. september-2017 | 0.09 | 5.5 | 0.28
2. september-2017
3. september-2017
| 4. september-2017 | 0.33 | 2.6 | 0.19
| 5. september-2017 | 0.03 | 2.8 | 0.22
6. september-2017
| 7. september-2017 | 0.73 | 1.7 | 0.26
| 8. september-2017 | 0.49 | 3.3 | 0.32 | 0.39 | 4.2 | 16.7 | 2.5
9. september-2017
10. september-2017
11. september-2017
12. september-2017
| 13. september-2017 | 1.47 | 3.4 | 0.41
| 14. september-2017 | 1.69 | 4.3 | 0.46
15. september-2017
16. september-2017
| 17. september-2017 | 0.03 | 2.7 | 0.31 | 0.35 | 4 | 26.4 | 6
| 18. september-2017 | 0.03 | 2.4 | 0.24
| 19. september-2017 | 0.04 | 2.5 | 0.3
| 20. september-2017 | 0.06 | 3 | 0.32
| 21. september-2017 | 0.65 | 3.1 | 0.44
| 22. september-2017 | 0.29 | 4.5 | 0.34
23. september-2017
24. september-2017
| 25. september-2017 | 0.21 | 3.2 | 0.28
26. september-2017
| 27. september-2017 | 0.86 | 1.5 | 0.53
| 28. september-2017 | 0.03 | 2.9 | 0.29
| 29. september-2017 | 0.04 | 2.9 | 0.33
30. september-2017
1. oktober-2017
| 2. oktober-2017 | 1.12 | 1.2 | 0.61
| 3. oktober-2017 | 0.74 | 1.7 | 0.47
| 4. oktober-2017 | 0.04 | 2.4 | 0.38 | 0.53 | 2.9 | 21.2 | 2.8
5. oktober-2017
| 6. oktober-2017 | 0.17 | 3.4 | 0.39
7. oktober-2017
8. oktober-2017
| 9. oktober-2017 | 0.19 | 1 | 0.3
| 10. oktober-2017 | 0.01 | 1.4 | 0.24
| 11. oktober-2017 | 0.94 | 1.1 | 0.31
| 12. oktober-2017 | 1.84 | 2.1 | 0.48 | 0.66 | 4.9 | 42.4 | 9.2
| 13. oktober-2017 | 1.1 | 2.6 | 0.41
14. oktober-2017
15. oktober-2017
16. oktober-2017
| 17. oktober-2017 | 0.25 | 1 | 0.61
18. oktober-2017
| 19. oktober-2017 | 0.8 | 1.6 | 0.6
20. oktober-2017
21. oktober-2017
22. oktober-2017
| 23. oktober-2017 | 0.39 | 2.5 | 0.67
| 24. oktober-2017 |  | 2.9 | 0.59
| 25. oktober-2017 | 1.86 | 2.9 | 0.39
26. oktober-2017
27. oktober-2017
28. oktober-2017
29. oktober-2017
| 30. oktober-2017 | 0.47 | 1.8 | 1.32
| 31. oktober-2017 | 0.47 | 2 | 0.33
| 1. november-2017 | 0.06 | 2.9 | 0.24
| 2. november-2017 | 0.13 | 3.5 | 0.73
3. november-2017
| 4. november-2017 | 0.06 | 3.1 | 0.32 | 0.38 | 4.1 | 28.1 | 2
5. november-2017
6. november-2017
| 7. november-2017 | 0.03 | 2.8 | 0.3
| 8. november-2017 | 0.05 | 3.2 | 0.4
| 9. november-2017 | 0.07 | 3.7 | 0.36
10. november-2017
11. november-2017
12. november-2017
| 13. november-2017 | 0.05 | 3.3 | 0.27 | 0.32 | 4 | 21.8 | 2.5
| 14. november-2017 | 0.02 | 2.1 | 0.28
| 15. november-2017 | 0.65 | 3.8 | 0.37
| 16. november-2017 | 0.05 | 3.6 | 0.4
| 17. november-2017 | 1.07 | 4.1 | 0.39
18. november-2017
19. november-2017
| 20. november-2017 | 0.28 | 2.1 | 0.5
| 21. november-2017 | 0.31 | 1.9 | 0.29
| 22. november-2017 | 1.69 | 3.1 | 0.31
| 23. november-2017 | 1.47 | 4.5 | 0.43 | 0.73 | 7.1 | 22.2 | 4.4
| 24. november-2017 | 2.7 | 3 | 0.43
25. november-2017
26. november-2017
| 27. november-2017 | 1.56 | 2.5 | 0.36
| 28. november-2017 | 1.52 | 3.5 | 0.31
| 29. november-2017 | 0.12 | 3.7 | 0.32
30. november-2017
1. december-2017
2. december-2017
3. december-2017
| 4. december-2017 | 0.22 | 3.9 | 0.39
| 5. december-2017 | 0.04 | 2.6 | 0.22 | 0.29 | 3.2 | 25.5 | 3
| 6. december-2017 | 0.11 | 2.9 | 0.35
| 7. december-2017 | 0.67 | 5.3 | 0.48
8. december-2017
9. december-2017
10. december-2017
| 11. december-2017 | 0.19 | 1.5 | 0.24
| 12. december-2017 | 0.12 | 2.4 | 0.28
| 13. december-2017 | 0.7 | 3.9 | 0.42
| 14. december-2017 | 1.26 | 5.1 | 0.62
| 15. december-2017 | 1.16 | 4 | 0.4
16. december-2017
17. december-2017
| 18. december-2017 | 0.05 | 1.9 | 0.19
| 19. december-2017 | 0.14 | 3.2 | 0.18
| 20. december-2017 | 0.17 | 3.5 | 0.3
| 21. december-2017 | 0.15 | 3.6 | 0.5
22. december-2017
23. december-2017
24. december-2017
25. december-2017
26. december-2017
27. december-2017
28. december-2017
29. december-2017
30. december-2017
31. december-2017
1. januar-2018
| 2. januar-2018 | 0.04 | 1.9 | 0.25
| 3. januar-2018 | 0.03 | 2.2 | 0.22
| 4. januar-2018 | 0.02 | 2.3 | 0.37
| 5. januar-2018 | 0.41 | 3.9 | 0.62
6. januar-2018
7. januar-2018
| 8. januar-2018 | 0.13 | 1.7 | 0.41
| 9. januar-2018 | 0.04 | 2.6 | 0.36
| 10. januar-2018 | 0.11 | 3 | 0.57
| 11. januar-2018 | 0.17 | 3.4 | 0.72
| 12. januar-2018 | 1.21 | 3.1 | 1.01
| 13. januar-2018 | 0.04 | 3.7 | 0.66 | 0.88 | 5.1 | 26.7 | 4.7
14. januar-2018
| 15. januar-2018 | 0.21 | 2.9 | 0.42
| 16. januar-2018 | 0.17 | 3.3 | 0.38
| 17. januar-2018 | 0.04 | 2.8 | 0.53
18. januar-2018
| 19. januar-2018 | 0.17 | 4.7 | 0.75
20. januar-2018
21. januar-2018
| 22. januar-2018 | 0.08 | 2.1 | 0.31
| 23. januar-2018 | 0.08 | 3 | 0.31 | 0.39 | 3.6 | 25.2 | 4
| 24. januar-2018 | 0.67 | 4.4 | 0.49
25. januar-2018
| 26. januar-2018 | 0.17 | 4.2 | 0.72
27. januar-2018
28. januar-2018
| 29. januar-2018 | 0.47 | 2.5 | 0.64
| 30. januar-2018 | 0.01 | 2.4 | 0.45
| 31. januar-2018 | 0.17 | 4.3 | 1.16
| 1. februar-2018 | 1.6 | 4.8 | 0.72
2. februar-2018
3. februar-2018
4. februar-2018
| 5. februar-2018 | 0.39 | 2.9 | 0.35
| 6. februar-2018 | 0.06 | 3.8 | 0.28
| 7. februar-2018 | 0.11 | 4.2 | 0.43
| 8. februar-2018 | 0.17 | 5 | 0.35 | 0.41 | 5.7 | 27.2 | 9.3
9. februar-2018
10. februar-2018
11. februar-2018
| 12. februar-2018 | 2.73 | 4.6 | 0.59
| 13. februar-2018 | 0.3 | 6 | 0.61
| 14. februar-2018 | 0.17 | 4.9 | 0.5
| 15. februar-2018 | 0.14 | 5 | 0.56
| 16. februar-2018 | 0.38 | 6.1 | 0.53 | 0.58 | 7.4 | 27.5 | 2.7
17. februar-2018
18. februar-2018
| 19. februar-2018 | 0.57 | 3.1 | 0.31
| 20. februar-2018 | 0.49 | 2.7 | 0.37
21. februar-2018
| 22. februar-2018 | 0.35 | 2.9 | 0.31
23. februar-2018
24. februar-2018
25. februar-2018
| 26. februar-2018 | 0.4 | 4.1 | 0.58
| 27. februar-2018 | 1.18 | 3.8 | 0.47
28. februar-2018
1. marts-2018
2. marts-2018
3. marts-2018
| 4. marts-2018 | 0.44 | 6.1 | 0.38 | 0.59 | 8.7 | 24.2 | 8.8
5. marts-2018
| 6. marts-2018 | 0.13 | 3.6 | 0.22
| 7. marts-2018 | 1.59 | 3.6 | 0.4
8. marts-2018
9. marts-2018
10. marts-2018
11. marts-2018
| 12. marts-2018 | 0.75 | 3.6 | 0.53
| 13. marts-2018 | 1.3 | 3.3 | 0.13
| 14. marts-2018 | 0.36 | 5.2 | 0.18 | 1.42 | 8.2 | 54.7 | 26.6
| 15. marts-2018 | 0.62 | 6.1 | 0.23
| 16. marts-2018 | 0.35 | 6.4 | 0.26
17. marts-2018
18. marts-2018
| 19. marts-2018 | 0.01 | 2.8 | 0.13
| 20. marts-2018 | 0.58 | 2.8 | 0.19
| 21. marts-2018 | 0.12 | 5.1 | 0.22
| 22. marts-2018 | 4.2 | 3.9 | 0.31
23. marts-2018
24. marts-2018
25. marts-2018
| 26. marts-2018 | 0.32 | 2 | 0.26
27. marts-2018
28. marts-2018
29. marts-2018
30. marts-2018
31. marts-2018
1. april-2018
2. april-2018
| 3. april-2018 | 0.49 | 2.9 | 0.28
4. april-2018
| 5. april-2018 | 4.76 | 4.8 | 0.73
| 6. april-2018 | 2.58 | 6.7 | 0.6 | 0.72 | 10.4 | 26.9 | 3.2
7. april-2018
8. april-2018
| 9. april-2018 | 0.38 | 1.7 | 0.28
| 10. april-2018 | 0.1 | 2 | 0.25
| 11. april-2018 | 0.43 | 2.9 | 0.25
| 12. april-2018 | 0.97 | 4.1 | 0.27
| 13. april-2018 | 1.04 | 4.8 | 0.28
14. april-2018
15. april-2018
| 16. april-2018 | 0.74 | 2.6 | 0.31
| 17. april-2018 | 0.71 | 3.7 | 0.31
| 18. april-2018 | 0.57 | 3.9 | 0.36
| 19. april-2018 | 0.78 | 4.8 | 0.41
| 20. april-2018 | 0.84 | 4.9 | 0.48
21. april-2018
22. april-2018
| 23. april-2018 | 0.35 | 3.3 | 0.37 | 0.47 | 4.8 | 29.6 | 2.4
| 24. april-2018 | 0.46 | 3.2 | 0.35
| 25. april-2018 | 0.41 | 3.4 | 0.3
| 26. april-2018 | 0.84 | 4.9 | 0.33
27. april-2018
28. april-2018
29. april-2018
| 30. april-2018 | 0.92 | 2 | 0.36
| 1. maj-2018 | 0.23 | 3.4 | 0.25
| 2. maj-2018 | 0.75 | 4.9 | 0.3 | 0.43 | 6.5 | 20.1 | 4.2
| 3. maj-2018 | 2.14 | 8.1 | 0.29
| 4. maj-2018 | 3.49 | 7.5 | 0.47
5. maj-2018
6. maj-2018
| 7. maj-2018 | 0.6 | 4.8 | 0.41
| 8. maj-2018 | 0.42 | 3.1 | 0.36
| 9. maj-2018 | 0.26 | 2.5 | 0.28
10. maj-2018
11. maj-2018
12. maj-2018
13. maj-2018
| 14. maj-2018 | 1.46 | 2.1 | 0.43
| 15. maj-2018 | 0.84 | 1.8 | 0.29
| 16. maj-2018 | 0.41 | 2.8 | 0.26 | 0.36 | 4.1 | 24.5 | 1.8
| 17. maj-2018 | 0.61 | 3.6 | 0.3
| 18. maj-2018 | 0.45 | 3.9 | 0.25
19. maj-2018
20. maj-2018
21. maj-2018
| 22. maj-2018 | 0.68 | 1.7 | 0.26
| 23. maj-2018 | 0.2 | 2.3 | 0.25
| 24. maj-2018 | 0.21 | 2.3 | 0.33
25. maj-2018
26. maj-2018
27. maj-2018
| 28. maj-2018 | 1.31 | 1.7 | 0.42
| 29. maj-2018 | 0.34 | 2.4 | 0.42 | 0.52 | 4.1 | 33.9 | 2
| 30. maj-2018 | 1.51 | 3.2 | 0.42
| 31. maj-2018 | 0.26 | 2.3 | 0.39
| 1. juni-2018 | 0.14 | 1.5 | 0.44
2. juni-2018
3. juni-2018
| 4. juni-2018 | 0.16 | 1.6 | 0.31
5. juni-2018
| 6. juni-2018 | 0.13 | 1.5 | 0.31
| 7. juni-2018 | 0.52 | 2.8 | 0.49
| 8. juni-2018 | 0.83 | 3.7 | 0.53
9. juni-2018
10. juni-2018
| 11. juni-2018 | 2.23 | 1.7 | 0.36
12. juni-2018
13. juni-2018
14. juni-2018
15. juni-2018
16. juni-2018
| 17. juni-2018 | 2.41 | 2.2 | 0.43 | 0.56 | 5.9 | 33.8 | 5.4
18. juni-2018
| 19. juni-2018 | 0.22 | 2.5 | 0.25
| 20. juni-2018 | 0.07 | 1.7 | 0.24
| 21. juni-2018 | 1.29 | 2.6 | 0.28
| 22. juni-2018 | 0.13 | 2.4 | 0.21
23. juni-2018
24. juni-2018
| 25. juni-2018 | 0.99 | 1.1 | 0.33
| 26. juni-2018 | 0.12 | 1.9 | 0.3
| 27. juni-2018 | 0.37 | 2.8 | 0.39
| 28. juni-2018 | 0.18 | 1.8 | 0.35
| 29. juni-2018 | 0.11 | 1.5 | 0.43
30. juni-2018
1. juli-2018
| 2. juli-2018 | 0.31 | 0.8 | 0.44
| 3. juli-2018 | 0.42 | 1.4 | 0.56 | 0.66 | 3.1 | 34 | 2.4
4. juli-2018
| 5. juli-2018 | 0.52 | 2.7 | 0.46
| 6. juli-2018 | 0.54 | 3.5 | 0.36
7. juli-2018
8. juli-2018
9. juli-2018
| 10. juli-2018 | 1.37 | 0.9 | 0.35
11. juli-2018
| 12. juli-2018 | 0.32 | 2.8 | 0.59
| 13. juli-2018 | 0.28 | 2.2 | 0.47
| 14. juli-2018 | 0.09 | 1.7 | 0.43 | 0.59 | 3.6 | 32.1 | 6.4
15. juli-2018
16. juli-2018
| 17. juli-2018 | 0.05 | 1.1 | 0.47
18. juli-2018
19. juli-2018
| 20. juli-2018 | 0.22 | 0.9 | 0.29
21. juli-2018
22. juli-2018
23. juli-2018
24. juli-2018
25. juli-2018
26. juli-2018
27. juli-2018
28. juli-2018
29. juli-2018
| 30. juli-2018 | 0.77 | 1 | 0.45
| 31. juli-2018 | 1.12 | 0.9 | 0.39
1. august-2018
2. august-2018
| 3. august-2018 | 1.58 | 1.1 | 0.37
4. august-2018
5. august-2018
| 6. august-2018 | 0.71 | 0.9 | 0.25
| 7. august-2018 | 1.16 | 1.1 | 0.33
8. august-2018
| 9. august-2018 | 1.11 | 1.3 | 0.43
10. august-2018
11. august-2018
12. august-2018
| 13. august-2018 | 1.06 | 3 | 0.39 | 0.49 | 5.2 | 31.6 | 5
| 14. august-2018 | 2.19 | 2.3 | 0.36
| 15. august-2018 | 0.13 | 2.4 | 0.24
| 16. august-2018 | 0.24 | 2.4 | 0.32
| 17. august-2018 | 2.82 | 1.7 | 0.22
18. august-2018
19. august-2018
| 20. august-2018 | 1.12 | 2.5 | 0.18 | 0.27 | 5 | 26.1 | 3.3
21. august-2018
| 22. august-2018 | 1.02 | 2.1 | 0.19
| 23. august-2018 | 0.78 | 3 | 0.22 | 0.3 | 5.1 | 30.5 | 2
| 24. august-2018 | 2.85 | 2.3 | 0.34
25. august-2018
26. august-2018
| 27. august-2018 | 2.85 | 3.7 | 0.2
| 28. august-2018 | 6.52 | 3 | 0.28
| 29. august-2018 | 2.66 | 3.9 | 0.19
| 30. august-2018 | 10.2 | 1.6 | 0.23
| 31. august-2018 | 13.2 | 3.7 | 0.34
1. september-2018
2. september-2018
| 3. september-2018 | 3.03 | 5.2 | 0.16
| 4. september-2018 | 0.55 | 4.8 | 0.14
| 5. september-2018 | 1.24 | 5.1 | 0.18
| 6. september-2018 | 6.57 | 2.7 | 0.1
| 7. september-2018 | 2.07 | 5.6 | 0.23 | 0.27 | 9.1 | 31.1 | 2.3
8. september-2018
9. september-2018
| 10. september-2018 | 1.75 | 1 | 0.09
| 11. september-2018 | 0.54 | 3.2 | 0.15
| 12. september-2018 | 1.81 | 2.8 | 0.17
| 13. september-2018 | 0.5 | 3.3 | 0.16
| 14. september-2018 | 2.25 | 1.2 | 0.22
15. september-2018
| 16. september-2018 | 0.34 | 4 | 0.13 | 0.17 | 5.1 | 20.2 | 2
17. september-2018
| 18. september-2018 | 1.36 | 3.5 | 0.75
| 19. september-2018 | 4.96 | 3.9 | 1.69
| 20. september-2018 | 4.65 | 5.3 | 0.81
| 21. september-2018 | 1.6 | 4.2 | 0.23
22. september-2018
23. september-2018
24. september-2018
25. september-2018
26. september-2018
27. september-2018
28. september-2018
29. september-2018
30. september-2018
1. oktober-2018
2. oktober-2018
| 3. oktober-2018 | 3.04 | 3.9 | 3.04 | 0.39 | 7.8 | 31 | 5.6
4. oktober-2018
| 5. oktober-2018 | 1.09 | 4.4 | 0.2
6. oktober-2018
7. oktober-2018
| 8. oktober-2018 | 0.6 | 1.4 | 0.18
| 9. oktober-2018 | 0.47 | 1.8 | 0.19
| 10. oktober-2018 | 0.32 | 4 | 0.31
| 11. oktober-2018 | 0.36 | 3.6 | 0.17 | 0.25 | 4.3 | 31 | 2.5
12. oktober-2018
13. oktober-2018
14. oktober-2018
| 15. oktober-2018 | 0.37 | 1.3 | 0.17
| 16. oktober-2018 | 1.87 | 1.1 | 0.26
17. oktober-2018
| 18. oktober-2018 | 0.79 | 2.2 | 0.15
19. oktober-2018
20. oktober-2018
21. oktober-2018
| 22. oktober-2018 | 1.61 | 2.9 | 0.32
| 23. oktober-2018 | 1.51 | 1.5 | 0.17
24. oktober-2018
| 25. oktober-2018 | 4.8 | 4.1 | 0.18
26. oktober-2018
| 27. oktober-2018 | 5.41 | 4.3 | 0.25 | 0.67 | 11.1 | 39.4 | 13
28. oktober-2018
29. oktober-2018
| 30. oktober-2018 | 1.24 | 4.5 | 0.16
| 31. oktober-2018 | 4.08 | 4.1 | 0.65
| 1. november-2018 | 2.99 | 6.8 | 0.88
| 2. november-2018 | 3.14 | 4.4 | 0.25
3. november-2018
4. november-2018
| 5. november-2018 | 2.16 | 3.5 | 0.17
6. november-2018
| 7. november-2018 | 0.22 | 3.7 | 0.19
8. november-2018
| 9. november-2018 | 3.77 | 4.9 | 0.27
10. november-2018
11. november-2018
| 12. november-2018 | 1.87 | 5.3 | 0.17 | 0.26 | 8.3 | 25.3 | 2
| 13. november-2018 | 0.8 | 5.7 | 0.16
| 14. november-2018 | 3.04 | 4.8 | 0.27
| 15. november-2018 | 5.07 | 5.4 | 0.67
| 16. november-2018 | 3.9 | 3.6 | 0.37
17. november-2018
18. november-2018
19. november-2018
| 20. november-2018 | 2.79 | 2.8 | 0.26
21. november-2018
| 22. november-2018 | 3.12 | 6.9 | 0.24 | 0.41 | 12.1 | 28.5 | 4
23. november-2018
24. november-2018
25. november-2018
| 26. november-2018 | 1.8 | 2.1 | 0.24
| 27. november-2018 | 0.92 | 4 | 0.19
| 28. november-2018 | 0.84 | 3.6 | 0.21
| 29. november-2018 | 4.33 | 4.5 | 0.27
| 30. november-2018 | 5.71 | 5.5 | 0.11
1. december-2018
2. december-2018
| 3. december-2018 | 3.95 | 1.8 | 0.41
| 4. december-2018 | 2.25 | 3 | 0.51 | 0.64 | 6.6 | 22.3 | 5.6
| 5. december-2018 | 1.08 | 4.7 | 0.28
| 6. december-2018 | 1.11 | 5 | 0.21
7. december-2018
8. december-2018
9. december-2018
| 10. december-2018 | 1.49 | 2.6 | 0.28
| 11. december-2018 | 0.5 | 3.7 | 0.18
12. december-2018
| 13. december-2018 | 0.89 | 4.3 | 0.21
| 14. december-2018 | 0.72 | 4.7 | 1.4
15. december-2018
16. december-2018
| 17. december-2018 | 1.21 | 5.1 | 0.73
| 18. december-2018 | 0.18 | 4.1 | 0.19
| 19. december-2018 | 0.6 | 4.3 | 0.17
| 20. december-2018 | 1.06 | 4.9 | 0.19
21. december-2018
22. december-2018
23. december-2018
24. december-2018
25. december-2018
26. december-2018
27. december-2018
28. december-2018
29. december-2018
30. december-2018
31. december-2018
1. januar-2019
| 2. januar-2019 | 0.13 | 1.8 | 0.17
| 3. januar-2019 | 0.06 | 1.9 | 0.24
| 4. januar-2019 | 1.95 | 2.1 | 0.24
5. januar-2019
6. januar-2019
7. januar-2019
| 8. januar-2019 | 0.71 | 4.5 | 0.26 | 0.31 | 6.4 | 28.5 | 4
| 9. januar-2019 | 0.65 | 4.3 | 0.33
| 10. januar-2019 | 0.55 | 3.9 | 0.4
11. januar-2019
12. januar-2019
13. januar-2019
| 14. januar-2019 | 0.1 | 3.2 | 0.39
| 15. januar-2019 | 0.24 | 2.4 | 0.27
| 16. januar-2019 | 0.87 | 3.6 | 0.39
| 17. januar-2019 | 1.3 | 4.4 | 0.45
| 18. januar-2019 | 0.48 | 3.3 | 0.51
19. januar-2019
20. januar-2019
| 21. januar-2019 | 2.12 | 1.1 | 0.39
| 22. januar-2019 | 0.92 | 2.5 | 0.42
| 23. januar-2019 | 0.5 | 3 | 0.46 | 0.52 | 4.5 | 24.4 | 2.5
| 24. januar-2019 | 0.42 | 2.8 | 0.41
25. januar-2019
26. januar-2019
27. januar-2019
| 28. januar-2019 | 1.07 | 5.1 | 0.29
| 29. januar-2019 | 1 | 5.6 | 0.27
| 30. januar-2019 | 1 | 4.8 | 0.69
| 31. januar-2019 | 1 | 5.5 | 0.6
| 1. februar-2019 | 1.21 | 5.9 | 0.45
2. februar-2019
3. februar-2019
| 4. februar-2019 | 0.25 | 1.4 | 0.21
| 5. februar-2019 | 1.35 | 3.5 | 0.62
| 6. februar-2019 | 1.72 | 8.1 | 0.76
| 7. februar-2019 | 0.88 | 5.6 | 0.36 | 1.32 | 8.9 | 43.6 | 24.5
| 8. februar-2019 | 2.09 | 4.6 | 0.43
9. februar-2019
10. februar-2019
| 11. februar-2019 | 0.32 | 2.5 | 0.36
| 12. februar-2019 | 1.05 | 2.7 | 0.5
13. februar-2019
| 14. februar-2019 | 1.43 | 3.2 | 0.48
| 15. februar-2019 | 0.11 | 3.9 | 0.45 | 0.61 | 5.9 | 32.1 | 7
16. februar-2019
17. februar-2019
18. februar-2019
| 19. februar-2019 | 0.15 | 1.6 | 0.42
20. februar-2019
21. februar-2019
22. februar-2019
23. februar-2019
24. februar-2019
| 25. februar-2019 | 0.83 | 2.1 | 0.21
| 26. februar-2019 | 0.23 | 2.7 | 0.22
| 27. februar-2019 | 0.27 | 3 | 0.23
| 28. februar-2019 | 1.89 | 2.9 | 0.41
1. marts-2019
| 2. marts-2019 | 0.3 | 4.2 | 0.36 | 0.45 | 5.9 | 31.2 | 6
3. marts-2019
4. marts-2019
| 5. marts-2019 | 0.55 | 2.8 | 0.13
| 6. marts-2019 | 0.14 | 3 | 0.12
| 7. marts-2019 | 0.18 | 4 | 0.11
| 8. marts-2019 | 0.25 | 5.3 | 0.27
9. marts-2019
10. marts-2019
| 11. marts-2019 | 0.08 | 4 | 0.25
| 12. marts-2019 | 0.09 | 2.3 | 0.25
| 13. marts-2019 | 0.4 | 3.9 | 0.37
| 14. marts-2019 | 0.11 | 5 | 0.52
15. marts-2019
16. marts-2019
| 17. marts-2019 | 0.17 | 3.9 | 0.45 | 0.61 | 5 | 20.9 | 4.3
| 18. marts-2019 | 0.14 | 3.5 | 0.25
| 19. marts-2019 | 0.21 | 3 | 0.25
| 20. marts-2019 | 0.22 | 3.1 | 0.28
| 21. marts-2019 | 0.2 | 3.3 | 0.31
| 22. marts-2019 | 0.18 | 3.4 | 0.29
23. marts-2019
24. marts-2019
| 25. marts-2019 | 1.49 | 3.4 | 0.47
| 26. marts-2019 | 0.22 | 3.5 | 0.45
| 27. marts-2019 | 0.28 | 2.8 | 0.51
| 28. marts-2019 | 0.26 | 3.1 | 0.49
29. marts-2019
30. marts-2019
31. marts-2019
| 1. april-2019 | 1.17 | 2.3 | 0.51
| 2. april-2019 | 0.23 | 2.9 | 0.37
| 3. april-2019 | 0.9 | 1.9 | 0.37
| 4. april-2019 | 0.23 | 3.2 | 0.39
5. april-2019
6. april-2019
7. april-2019
| 8. april-2019 | 0.32 | 1.4 | 0.28
| 9. april-2019 | 0.05 | 1.4 | 0.25
| 10. april-2019 | 0.11 | 1.3 | 0.27
| 11. april-2019 | 0.44 | 3.2 | 0.34 | 0.41 | 5.1 | 29.2 | 4.4
12. april-2019
13. april-2019
14. april-2019
| 15. april-2019 | 0.91 | 1.8 | 0.38
| 16. april-2019 | 0.42 | 1.6 | 0.28
17. april-2019
18. april-2019
19. april-2019
20. april-2019
21. april-2019
22. april-2019
| 23. april-2019 | 0.17 | 1 | 0.48
| 24. april-2019 | 0.03 | 1.8 | 0.41 | 0.47 | 3.1 | 28.1 | 2.5
| 25. april-2019 | 0.99 | 1.7 | 0.28
26. april-2019
27. april-2019
28. april-2019
| 29. april-2019 | 0.56 | 1.8 | 0.3
| 30. april-2019 | 0.2 | 0.8 | 0.49
1. maj-2019
| 2. maj-2019 | 0.26 | 1.1 | 0.31
| 3. maj-2019 | 0.58 | 1.4 | 0.3
4. maj-2019
5. maj-2019
| 6. maj-2019 | 0.15 | 2.1 | 0.33 | 0.42 | 4 | 30.1 | 5
| 7. maj-2019 | 0.04 | 2.7 | 0.26
| 8. maj-2019 | 0.11 | 1.7 | 0.24
| 9. maj-2019 | 1.47 | 3 | 0.26
10. maj-2019
11. maj-2019
12. maj-2019
| 13. maj-2019 | 0.12 | 1.2 | 0.21
14. maj-2019
15. maj-2019
| 16. maj-2019 | 0.55 | 0.8 | 0.46
17. maj-2019
18. maj-2019
19. maj-2019
20. maj-2019
21. maj-2019
22. maj-2019
23. maj-2019
24. maj-2019
25. maj-2019
26. maj-2019
27. maj-2019
28. maj-2019
29. maj-2019
30. maj-2019
31. maj-2019